## 11-Application for DA
Solar Design Approval Application
Mono-Crystalline
Poly-Crystalline
Thinfilm
Concentration solar
Other (specify)
Solar NOC #
Solar NOC# mandatory to proceed with DA submission
A: Solar Plant Details
| No. | Question |  | Answer
| 1a | Overall peak power at DC Side (kWp)
| 1b | Maximum capacity power @ AC Side, Pmc (kW)
| 1c | Yearly expected produced energy (kWh)
| B: Solar module details |  | alteast one column should be filled mandatorily
| Solar Module |  | Group 1 | Group 2 |  | Group 3 |  | Group 4 |  | Group 5
| 2a | Type of Modules
| 2b | Manufacturer and model number
| 2c | Number of Modules
| 2d | Peak power of each module (Wp)
| 2e | Tilt (°)
| 2f | Azimut (°)
|  | Total kWp | 0
| C: Solar Inverter details |  | alteast one column should be filled mandatorily
| Solar inverter |  | Group 1 | Group 2 |  | Group 3 |  | Group 4 |  | Group 5
| 3a | Inverter Manufacturer and Type
| 3b | Power of single unit (kW @ cos j = 1)
| 3c | Inverter quantity
| 3d | No. of Phases (SINGLE/THREE)
| 3e | Internal Transformer (YES/NO)
|  | Total kW (@ cos j = 1) | 0
| D: Document upload |  |  |  | means it is mandatory to submit the document
| No. | Requirement |  |  |  | Submission status |  |  | File name
[6 empty] | YES | NO | N/A
| 1 | Copy of Solar NOC
| 2 | Site setting out plan showing details of proposed works, PV panels layout, meter location(s), point of connection (PoC)etc.
| 3 | Connected load & maximum demand and load distribution schedules at each connection point
| 4 | Single line diagram, with details of metering and protection system
| 5 | Production details (kWp and kWh per annum)
| 6 | Details on PV modules, for each kind employed in the plant
| 7 | Compliance (to applicable Standard) certificate of the modules
| 8 | Details on Inverters, for each kind employed in the plant
| 9 | Compliance to DEWA and International Standard certificate of the inverters
| 10 | Details of Interface Protections
| 11 | Compliance to DEWA and International Standard certificate of the interface protection
| 12 | Sizing of the PV system elements (string design, inverters, solar cables, breaker)
| 13 | Plan of substation location (if requirement of substation is indicated in DEWA’s building NOC or if a MV connection is needed)
| 14 | Ground Floor and / or Typical Floor Layout indicating Location of Electrical rooms, MDB / SMDB, DB, Inverters, etc
| 15 | Dimensional layout of electrical RMU rooms, LV switch rooms with arrangement of the panels, metering rooms or enclosures
| 16 | Wiring layouts
| 17 | Structural drawings (accompanied by a declaration signed by the civil designer on the compliance of the structures to the in force laws and rules.)
| 18 | Other drawings/technical speciﬁcation as applicable
| 19 | Dubai Municipality /Tarkhees / any other Permit for solar
| 20 | Green Building Regulation implementation document
| 21 | Explicit acceptance and agreement to the terms and Conditions of the Connection Agreement
| 22 | Operation and Maintenance criteria and main planned actions